## cr & fc
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
CU-KU12WKY-8 | 6 | 20BPAJ0UAU00103, 20BPAJCUAU00105, 20BPAJCUAU00108, 20BPAJCUAU00114, 20BPAJCUAU00157, 20BPAJCUAU00160
GCHV-D280W/CZR1 | 1 | SFFOWDM1MCZ017000011
GCHV-D335W/CZR1 | 1 | SFFOWDM1MDA019000011
GCHV-D450W/CZR1 | 1 | SFFOWDM1MFU020000011
GCHV-D560W/CZR1 | 1 | SFFOWDM1MFW017000011
GCHV-D615W/CZR1 | 2 | SFFOWDM1MFX021000011, SFFOWDM1MFX021000021
MFTGD-60HRDN1 | 1 | 341C526910313170820016
U-KU12WKY-8 | 1 | 20BPAJCUAU00143
|  |  | CMV-V112LD/HR1 | 2 | SFFODDB1N2W092000011, SFFODDM1N2W092000021
|  |  | CMV-V125Q/HR1 | 4 | SFFOQDM1M03119000011, SFFOQDM1M03119000021, SFFOQDM1M03119000031, SFFOQDM1M03119000041, SFFOQDM1M03119000051, SFFOQDM1M03119000061, SFFOQDM1M03119000071, SFFOQDM1M03119000081, SFFOQDM1M03119000091
|  |  | CMV-V160Q/HR1 | 4 | SFFOQDM1M05224000011, SFFOQDM1M05224000021, SFFOQDM1M05224000031, SFFOQDM1M05224000041, SFFOQDM1M05224000051, SFFOQDM1M05224000061, SFFOQDM1M05224000071, SFFOQDM1M05224000081, SFFOQDM1M05224000091
|  |  | CMV-V45Q/HR1 | 1 | SFFOQDM1GGX246000011
|  |  | CMV-V56Q/HR1 | 1 | SFFOQDM1L9739000011
|  |  | CMV-V80LD/HR1 | 1 | SFFODDM1N2U048000011
|  |  | CMV-V80Q/HR1 | 1 | SFFOQDM1L99163000011

## GLOMARK MALABE
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
CS-RV12VKY-8 | 2 | 208PRJCBBU00008, DAMAGE SERIAL
CS-RV9VKY-8 | 3 | 20APRJCBAU00003, 20APRJCBAU00043, 20APRJCBAU00053
WCPS320BQP | 3 | 2C11600001, 2C11600002, 2C11600003
YS-80 | 1 | H20H017

## kottawa
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
CS-KU18WKY8 | 1 | 208PAJCTPV00027
CS-PV18UKH | 1 | 3797600676
CS-PV24UKH | 1 | 3797701180
CS-PV9UKH | 2 | 3797401990, 3797401998
CU-PV24UKH | 1 | 6714500912
KST-N-125 | 1 | 18052306
WCPS350BP | 2 | 2B81600090, 2B81600091
WCPS380BP | 1 | 2B81600089

## ANVERALLY
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
CU-PV24UKH | 1 | 6714501185
U-10ME2H7E | 2 | 6333400008, 6333400009
U-12ME2H7E | 1 | 6333500011
U-14ME1H8E | 1 | 6326300006
U-8LE1H7E | 1 | 6338001121
|  |  | S-140MU1E5A | 1 | 6163103535
|  |  | S-28MU1E5A | 6 | 6162302091, 6162302094, 6162302099, 6162302401, 6162302402, 6162302404
|  |  | S-36MU2E5A | 10 | 6184500407, 6184500408, 6184500409, 6184500410, 6184500412, 6184500413, 6184500414, 6184500415, 6184500416, 6184500417
|  |  | S-45MU1E5A | 11 | 6162502752, 6162502753, 6162502754, 6162502756, 6162502757, 6162502758, 6162502759, 6162502760, 6162502761, 6162502762, 6162502763
|  |  | S-45MU2E5A | 1 | 6184600572
|  |  | S-56MU2E5A | 1 | 6184700807
|  |  | S-73MU1E5A | 3 | 6162805627, 6162805628, 6162805629
|  |  | S-73MU2E5A | 3 | 6184900957, 6184900959, 6184900963

## SMS
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
CS-PC18DB4H | 2 | 7173538031.0, 7173538419.0
DAMAGE | 1 | nan
U-12ME2H7 | 1 | 6332800877.0
U-14ME2H7 | 2 | 6332900659.0, 6332900669.0
U-16ME2H7 | 1 | 6333001785.0
U-18ME2H7 | 1 | 6335600274.0
|  |  | S-106MU2E5A | 2 | 6185102039.0, 6185102041.0
|  |  | S-140MF2E5A | 1 | 6162006315.0
|  |  | S-22MK2E5A | 1 | 6159816213.0
|  |  | S-28MK2E5A | 7 | 6159911689.0, 6159911697.0, 6159913311.0, 6159913312.0, 6159913313.0, 6159913314.0, 6159913335.0
|  |  | S-36MK2E5A | 1 | 6160010294.0
|  |  | S-36MU2E5A | 20 | 6160008357.0, 6184501384.0, 6184501385.0, 6184501386.0, 6184501387.0, 6184501388.0, 6184501389.0, 6184501391.0, 6184501392.0, 6184501394.0, 6184501395.0, 6184501396.0, 6184501397.0, 6184501428.0, 6184501429.0, 6184501431.0, 6184501441.0, 6184501442.0, 6184501446.0, 6184501452.0
|  |  | S-45MU2E5A | 1 | 6184601731.0
|  |  | S-73MU2E5A | 2 | 6184903424.0, 6184903429.0
|  |  | S-90MU2E5A | 11 | 6185001887.0, 6185001898.0, 6185001899.0, 6185001900.0, 6185001902.0, 6185001904.0, 6185001906.0, 6185001929.0, 6185001930.0, 6185001934.0, 6185001938.0
nan | nan

## CIELO
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
U-16ME2H7 | 1 | 6333000363.0
nan | 1 | nan
|  |  | S-22MU1E5A-C | 2 | 6162201944.0, 6162201965.0
|  |  | S-36MU1E5A-C | 2 | 6162402601.0, 6162402651.0
|  |  | S-36MU1E5A-M | 2 | 6162402614.0, 6162402615.0
|  |  | S-56MU1E5A-C | 1 | 6162603977.0
|  |  | S-73MU1E5A-M | 2 | 6162804910.0, 6162804912.0
|  |  | S-90MU1E5A-C | 1 | 6162902310.0
|  |  | S-90MU1E5A-M | 1 | 6162902311.0

## NIGAMBO GLOMARK
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
COOLING TOWER | 1 | DAMAGE MODEL
|  |  | RP-P30WP | 4 | P00645, P00638, P00644, P00648
|  |  | CS-KU12WKYW-8 | 5 | 216PAJCTGU00080,216PAJCTGU00072, 216PAJCTGU00010, 216PAJCTGU00003, 216PAJCTGU00036
|  |  | CS-KU18WKYW-8 | 1 | 216PAJCTGU00008
|  |  | CTB -36CR1-C | 1 | DAMAGE SERIAL

## WALASMULLA BASE HO
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
CMV-V250TH/HR1-B | 1 | SFFOFDM1NEE12000061
CMV-V45Q4/HR1-C | 5 | SFFOQDM1GGX247000011, SFFOQDM1GGX247000021, SFFOQDM1GGX247000031, SFFOQDM1GGX247000041, SFFOQDM1GGX247000051
CS-PV9UKH | 9 | 3797404928, 3797404951, 3797404956, 3797404974, 3797404975, 3797404986, 3797404995, 3797404997, 4755108291
CU-PN12WKH | 6 | 4755108334, 4755108383, 4755108384, 6754507933, 6754508098, 6754508104
CU-PV9UKH | 9 | 5714205110, 6714205113, 6714205120, 6714205121, 6714205126, 6714205128, 6714205163, 6714205186, 6754507931
|  |  | GCHV-D220/HR1-GS8 | 2 | SFFOGDM1MWDO37000011, SFFOGDM1MWDO37000021
|  |  | GCHV-D252W/CZR1 | 1 | SFFOWDM1MCYO13000011
|  |  | GCHV-D280W/CZR1 | 1 | SFFOWDM1MCZ018000011
|  |  | GCHV-D360/HR1-GS8 | 1 | SFFOGDM1MWFO42000021

## ANARKALI MUNASINGHA
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
U-14ME1H8E | 1 | 6326300004
CU-S13RKH | 5 | 6938731963, 6938731975, 6938731956, 6938731976, 6938731978
CU-S18RKH |  | 6938815257
CU-S18RKH |  | 6938814406
CU-S24RKH | 3 | 6938905973, 6938905957, 6938905970
CU-T34KBM52 |  | 7877306457
CU-YT34KBH52 | 2 | 7877306576, 7877306449
|  |  | S-73MF2E5A | 1 | 6161704793
|  |  | S-140MF2E5A | 1 | 6162003653
|  |  | S-106MF2E5A | 1 | 6161903784

## MR.ASHOK PATHIRAGE
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
CS-C24CTH | 1 | 7124709398
U-8ME2H7 | 1 | 6332600037
|  |  | S-73MF2E5A | 1 | 6161704832
|  |  | S-140MF2E5A | 1 | 6162003668

## glomark delkanda
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
U-12ME2H7E | 2 | 6333500006, 6333500007
U-16ME2H7E | 1 | 6333700022
U-14ME2H7E | 1 | 6333600023
CU-PC12TKH | 1 | 6985210346
CS-PC9TKH | 1 | 3757719646
CU-PC30JKF | 1 | 7839540428
CU-PC30JKF | 1 | 7839540427
CS-PC12TKH | 1 | 3757809412
CU-PC9TKH | 1 | 6985118609
|  |  | S-106MU2E5A | 15 | 6185101865, 6185101897, 6185101895, 6185101899, 6185101861, 6185101884, 6185101898, 6185101864, 6185101889, 6185101891, 6185101887, 6185101886, 6185101894 , 6185101888 , 6185101893

## WATHTHALA MAX B
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
RP-15WL5 | 1 | 401032
RP-15WL5 | 1 | 401033
RP-15WL5 | 1 | 200116

## MIRIHANA HOUSE
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
CU-U18XKH | 1 | 6884602822.0
MXAFA09CRDN8 | 1 | nan
RZR125MYM | 1 | nan
U-12ME2H7E | 1 | 6333501001.0
U-14ME2H7E | 1 | 6333601005.0
U-8ME2H7E | 1 | 6333301003.0
|  |  | S-106MY2E5A | 1 | 6161908021.0
|  |  | S-160MF2E5A | 2 | 6162105741.0, 6162105825.0
|  |  | S-28MD1E5 | 1 | 14718.0
|  |  | S-28MY2E5A | 1 | 6159316516.0
|  |  | S-36MF2E5A | 1 | 6161309355.0
|  |  | S-45MD1E5 | 1 | 4718.0
|  |  | S-60MY2E5A | 1 | 6161604578.0

## CALVERY CHURCH PACKAGE
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
RP-20WL5 | 1 | F03507
RP-20WL5 | 1 | F03502
RP-20WL5 | 1 | F03504
RP-20WL5 | 1 | F03501
COOLING TOWER |  | DAMAGE SERIAL
|  |  | CS-D50DB4H5X6 | 6 | 7161808453, 7161808775, 7161808447, 7161808212, 7161808772, 7161808226

## KANDY MCC
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
AVWT-170CKFSE | 1 | QSYFSW7V2003
AVWT-190CKFSE | 1 | QSYFTW7V2001
AVWT-212CKFSE | 4 | QCKAUN2V9048, QSYFUW7V2001, QSYFUW7V2002, QSYFUW7V2003
AVWT-232CKFSE | 5 | QSYFVW7V2002, QSYFVW7V2004, QSYFVWBU2001, QSYFVWBU200B, QSYFVWBU200G
AVWT-250CKFSE | 2 | QSYFVW7V2003, QSYFVW7V2009
AVWT-272CKFSE | 3 | QSYFUW7V2004, QSYFXW6V2006, QSYFXW6V2007
|  |  | AVBC-15HJFKA | 4 | QCKAMN2V901K, QCKAMN2V901N, QCKAMN2V901P, QCKMN2V901L
|  |  | AVBC-27HJFKA | 5 | QCKAPN3V9004, QCKAPN3V9006, QCKAPN3V9007, QCKAPN3V9009, QCKAPN3V9035
|  |  | AVBC-30HJFKA | 16 | QCKASN3V9004, QCKASN3V9006, QCKASN3V9008, QCKASN6V901G, QCKASN6V901H, QCKASN6V901M, QCKASN6V902K, QCKASN6V902M, QCKASN6V9031, QCKASN6V9032, QCKASN6V9034, QCKASN6V9037, QCKASN7V900J, QCKASN7V900S, QCKASNBU9004L, QCKASNCU9004
|  |  | AVBC-38HJFKA | 21 | QCKAN2V9017, QCKAPN3V9008, QCKAPN3V9035, QCKARN1V900Q, QCKASTCU901B, QCKATM2V901U, QCKATN0V901M, QCKATN2V9002, QCKATN2V9011, QCKATN2V9015, QCKATN2V901L, QCKATN2V901N, QCKATN2V901R, QCKATN2V901T, QCKATN3V9033, QCKATN3V9036, QCKATNCU901A, QCKATNCV901C, QCKAUN1V903T, QCKAUN2V902W, QCKAUN2V9043
|  |  | AVBC-48HJFKA | 31 | QCKASN6V9034J, QCKATN2V901N, QCKAUN1V903M, QCKAUN1V903T, QCKAUN1V903U, QCKAUN1V903V, QCKAUN1V904P, QCKAUN2V9017, QCKAUN2V9025, QCKAUN2V9027, QCKAUN2V902U, QCKAUN2V902V, QCKAUN2V902W, QCKAUN2V9032, QCKAUN2V903A, QCKAUN2V903C, QCKAUN2V903D, QCKAUN2V9040, QCKAUN2V9041, QCKAUN2V9042, QCKAUN2V9043, QCKAUN2V9044, QCKAUN2V9046, QCKAUN2V9047, QCKAUN2V9048, QCKAUN2V9049, QCKAUN2V904A, QCKAUN2V904J, QCKAUN2V904L, QCKUN2V9049, QSYFXW6V2009
|  |  | AVBC-48HJKFA | 6 | QCKAUN1V903P, QCKAUN1V903Q, QCKAUN1V903R, QRPQVN1V900E, QRPQVN1V903W, QRPQVN1VA00G
|  |  | AVD-48HCFCL | 2 | QCKAPN3V9008, QRPQVN1VA00L

## SPC
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
CU-D34DBH8 | 1 | 7259817647
CU-PC24QKH | 1 | 6910905237
U-4LE1H7E | 1 | 280
|  |  | CS-D34DTH5 | 6 | 7156702483, 7156702488, 7156702503, 7156702505, 7156702564, 7156702571
|  |  | CS-PC18QKH | 2 | 3472312866, 3472312874
|  |  | CS-PC24QKH | 1 | 3472405071

## LALAN RUBBER
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
8FF0QDL6L98376000081
8FF0QDL6L98376000051
8FF0QDL6L98376000091
8FF0QDL6L98376000071
8FF0QDL6L98370000151
8FF0QDL6L98376000271
8FF0QDL6L98376000141
8FF0QDL6L98376000071
8FF0QDL6L98376000151
8FF0QDL6L98376000271
8FF0QDL6L98376000141
8FF0QDL6L98376000191
8FF0QDL6L98376000241
8FF0QDL6L98376000221
8FF0QDL6L98376000101
8FF0QDL6L98376000161
8FF0QDL6L98376000131
8FF0QDL6L98376000171
8FF0QDL6L98376000011
8FF0QDL6L98376000121
8FF0QDL6L98376000061
8FF0QDL6L98376000231
8FF0QDL6L98376000081
8FF0QDL6L98376000040
8FF0QDL6L98376000050
8FF0QDL6L98376000049
8FF0QDL6L98376000030

## FLEXICARE
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
CMV-D615W/ZR1 | 2 | SFFOWDKBLKX028000011, SFFOWDKBLKX028000021
CU-KU24WKY-8 | 1 | 219PAJCU00033
CU-U10XKH | 1 | 6784405263
|  |  | CMV-28Q/HRC-1 |  | SRF0QDKCGGV153000031
|  |  | CMV-V71Q/HRC-1 |  | SFF0QDKCL98357000021
|  |  | CMV-V36Q4/HRC-1 | 2 | SFF0QDKCGGW206000021, SFFOQDKCGGW206000051
|  |  | CMV-V56Q/HR1-C | 1 | SFFOQDKCL97346000081
|  |  | CMV-C36Q4/HR1-C | 1 | SFFOQDKCGGW206000071
|  |  | CMV-V36Q4/HR1-C | 2 | SFFOQDKCGGW206000011, SFFOQDKCGGW206000061
|  |  | CMV-V28Q4/HR1-C | 2 | SFFOQDKCGGV153000011, SFFOQDKCGGV153000021
|  |  | CMV-V71Q/HRC | 1 | SFFOQDKCL98357000011
|  |  | CMV-V45Q4/HR1-C | 2 | SFF0QDKCGGX187000021, SFFOQDKCGGX187000011
|  |  | CMV-V56Q/HR1-C | 8 | SFFOQDKCL97346000091, SFFOQDKCL97346000061, SFFOQDKCL97346000051,SFFOQDKCL97346000011,SFFOQDKCL97346000041 , SFFOQDKCL97346000021,SFFOQDKCL97346000031, SFFOQDKCL97346000071,
|  |  | CMV-90Q/HR1-C | 1 | SFFODKCM00182000011
|  |  | CMV-V71Q/HR1-C | 1 | SFFOQDKCL98357000031
|  |  | CS-S10TKH | 1 | 69829109062
|  |  | TAC-09CSAI/XA61 | 1
SERVER ROOM

## Glomark Kandana
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
AR12AYAACWKN | 1 | nan
AR12AYAACWKX | 1 | nan
CU-U10XKH | 5 | 6784404994, 6784404998, 6784405161, 6784405191, 6784405258
CU-U13XKH | 1 | 6784505776
nan | 2 | A210163A, nan
MTA-96CWDN1 | 1 | 341E211820319090100001
|  |  | CS-U10XKH | 5 | 4789505650, 4789506368, 4789506462, 4789506467, 4789506585
|  |  | CS-U13XKH | 1 | nan
|  |  | RP-P25WP | 1 | Q00231
|  |  | RP-P30WP | 3 | Q00706, Q00708, Q00709

## HNB HEAD OFFICE
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
U-16ME2H7 | 6333000412
|  |  | S-106MU1E5A | 5 | 6163003329, 6163004139, 6163004442, 6163004445, 6163004446

## Mrs . Rohini
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
|  |  | S-106MK1E5A | 1 | 6378
|  |  | S-28MK2E5A | 3 | 6159907003, 6159907063, 6159907068
|  |  | S-56MK1E5A | 2 | 116678, 117078
|  |  | S-73MK1E5A | 1 | 27178, 273378

## cat
Outdoor Model | Outdoor Quantity | Outdoor Serial(s) | Indoor Model | Indoor Quantity | Indoor Serial(s)
ewrwe | 0
|  |  | werwer | 0